Common  Meter reading Instrument (CMRI) _G-12L

| APPLICATION THAT EMPOWER |  |
| --- | --- |

# Overview:

The core benefit of device G-12L is user programmable and has facility to interface meter reading APIs as per user requirement like Secure, L&T, Elster, Genus, L&G, HPL socomec and Allied make of meters and customizes to user specification.

The CMRI device designed for Fast, accurate and reliable, delivers world-class performance with highly integrated and advanced architecture.

Meter Interface: Supports wireless communication interface like unlicensed Sub-GHz 868MHz/2.4GHz Zigbee radio frequency bands, and wired communication interface port like RS232/Optical to communicate with energy meters

Server PC Interface: Supports wireless GSM/GPRS based communication provided and wired communication RS232/USB port with separate ESD protection to communicate with server PC and optional wireless interfaces are GSM/GPRS, Blue Tooth, Wi-Fi.

ARM Cortex -A8 CPU

GSM / GPRS/Wi-Fi/BT

Linux/Android OS

Optical /IR/USB/RS232

| Specifications |  |
| --- | --- |
| Processor | ARM Cortex-A8 1GHz |
| Display | 3.5” QVGA TFT LCD |
| Memory | 512 MB Flash memory, 512 MB DDR3, 2MB SPI flash, up to 32GB micro SD card |
| Operating System | Linux ,kernel v2.6.37 |
| Communication Interfaces | - RS-232 - USB - IR/IRDA |
| Optional &customizations | - GSM/GPRS - Blue Tooth. - Wi-Fi 802.11 b/g/n. - GPS. - Zigbee 2.4GHz/ Sub-GHz 868MHz. - Camera 5 Mega Pixel. - Custom Keypad - Customized Software |
| Keypad | Membrane type - 45 keys. |
| Power Adaptor | AC Input 100-240V ±30 %, 50Hz ±10%, DC output 10.5V, 2.5Amp |
| LED Indications | Power/GSM N/W, battery status |
| Battery | Rechargeable Li-ion 7.4V/2.2Ah |
| Enclosure | ABS+PC |
| Temperature | Operating: 0º to 50ºC. Storage: -20º to 70ºC |
| Humidity | 95% RH non condensing |
| EMI/EMC and Type tests | Comply as per IEC/IS standards |
| Dimensions | 238 x 45 x 108 mm ( L x H x W) |
| Weight | 400 grams |
| Accessories | Power adaptor ,common optical port, USB cable,RS232 cable, carrying case |

Salient Features:

- Fast-Versatile-Intelligent affordable Security Lock, Rugged ABS Plastic enclosure.

- Compact - Low cost –Rugged - Light weight and dust Tolerant

- Intelligent and fast battery charger.

- Operates on AC-DC Adapter (10V, 1A) & 7.4V, 2.2 AH LI-ion Battery.

### a) Field architecture

I

I

I

I

LPR/ZIGBEE

R232/OPTICAL/IR

G-12S

Meter 1

Meter 2

Meter 3

Meter n

b) System architecture

U

S

B

U

S

B

U

S

B

U

S

B

G

S

M

/

G

P

R

S

G

S

M

/

G

P

R

S

G

S

M

/

G

P

R

S

G

S

M

/

G

P

R

S

FIREWALL

APPLICATION

SERVER

DATABASE

SERVER

USER

G-12S

G-12S

G-12S

G-12S

I

I

I

I

I

I

I

GVM Electronic Systems.

| Registered office: 502, Sri sai land mark, Block-A Street No-8,Habsiguda Hyderabad - 500007, Telangana (INDIA). Website : www.gvmgroup.co.in |  | R&D Center: 1-7-9/3, Level 1 Harihara Estates, Opp ISI, Street No. 8,Habsiguda, Hyderabad - 500007 Andhra Pradesh (INDIA) Tel : 040 – 40073218. |
| --- | --- | --- |